## Slide 1: Philips Healthcare: PACS Overview

## Slide 2: Philips PACS Products by Core Functionality
Functionality | Explanation | Vue PACS | IntelliSpace PACS
Image Capture | Captures images across different departments, modalities, file formats | Vue Image Capture | IntelliSpace Image Capture
Image Storage | Stores medical images in a secure repository | Vue Clinical Repository | IntelliSpace Universal Data Manager
Image View | Stores and presents medical images in a secure repository | Vue Desktop Diagnostic Client | IntelliSpace Radiology Philips IntelliSpace Portal
Image Exchange | Quickly and securely delivers the clinical images to any authorized stakeholder | Vue Enterprise Viewer and Patient Portal | IntelliSpace Exchange
Analytics | Provides real-time insights allowing for decision making support | Vue Enterprise Viewer | IntelliSpace Portal 12
Notes: DICOM Support:
  VUE PACS in the US: Yes
  IntelliSpace PACS in the US: Yes
  Vue PACS in the EU: Yes
  IntelliSpace PACS in the EU: No
Philips Vue Picture Archiving and Communication System (PACS), formerly known as CARESTREAM Vue PACS
* Philips Image Management software (Vue PACS)
IntelliSpace PACS Anywhere is a flexible image distribution system that expands the reach of our IntelliSpace Enterprise system: IntelliSpace PACS Anywhere Course | Philips Healthcare Education
Enterprise imaging | Philips
Note: Vue PACS- Cloud
IntelliSpace PACS: On-Prem; Cloud (remote) through IntelliSpace PACS AnyWhere
Sources:
Enterprise imaging | Philips
Healthcare clinical analytics solutions | Philips

## Slide 3: Philips PACS Products By Purpose, Modalities and Modules
Functionality | IntelliSpace PACS | iSite | IntelliSpace Cardiovascular | Xcelera/Xcelera | TraceMaster Vue PACS
Purpose | Delivers on-demand diagnostic-quality images over existing hospital networks. | Rebranded to IntelliSpace PACS | Cardiovascular image and information management solution, | Xcelera/Xcelera Cardiology Information Management: Older Version of IntelliSpace Cardiovascular | Suite of applications for ECG workflow management such as VueClient, OrderVue, TraceMasterVue Communication
Supported Modalities | Across all modalities |  | Cardiology |  | ECG
Modules | Image Capture PPACS iVault Universal Data Manager iSyntax Radiology Analytics IntelliSpace Radiology |  | IntelliSpace Cardiovascular Diagnostic Guidance IntelliSpace Cardiovascular Analytics |  | VueClient OrderVue TraceMasterVue Communication
Notes: Notes:
iSite
  Older Version/Now Part of IntelliSpace PACS
Xcelera/Xcelera Cardiology Information Management:
  (Older Version of IntelliSpace Cardiovascular)
  Xcelera for cardiology older version on IntelliSpace Cardiovascular (Xcelera R4, R3, R2)
Notes:
Cardiology products were removed b/c not part of project scope.
iSite excluded because incorporated into IntelliSpace PACS
TraceMAster Vue: Microsoft Word - DICOM Conformance Statement TraceMasterVue 860420 (philips.com)
Sites
IntelliSpace Portal 12 | AI based imaging analysis | Philips Healthcare
https://www.bing.com/ck/a?!&&p=7bad99d7a743ca1bJmltdHM9MTY4NDE5NTIwMCZpZ3VpZD0xMWI3NWFjZi0wZDc4LTYyYzgtMzU1Yi00ODY0MGM4ZDYzYWMmaW5zaWQ9NTI5MQ&ptn=3&hsh=3&fclid=11b75acf-0d78-62c8-355b-48640c8d63ac&psq=philips+tracemaster+vue&u=a1aHR0cHM6Ly93d3cubXVsdGljYXJlLm9yZy9mb3ItcHJvdmlkZXJzL2VkdWNhdGlvbi10cmFpbmluZy9vbmxpbmUtdG9vbHMvdHJhY2VtYXN0ZXItdnVlLWVjZy8&ntb=1
Notes: Does not include cardiology- specific products
https://www.mof.gov.sg/docs/librariesprovider3/budget2022/download/pdf/35-moh-2022.pdf
https://www.moh.gov.sg/news-highlights/details/managing-healthcare-cost-increases, https://data.worldbank.org/indicator/NY.GDP.MKTP.CD?end=2021&locations=SG&start=2013,
https://knoema.com/atlas/Singapore/topics/Health/Health-Expenditure/Real-expenditure-on-health#:~:text=In%202018%2C%20real%20expenditure%20on,was%2016%2C257%20million%20US%20dollars.
https://www.oecd.org/health/health-systems/Spending-on-long-term-care-Brief-November-2020.pdf
https://budgetmodel.wharton.upenn.edu/issues/2022/3/9/projecting-medicaids-long-term-care-expenditures
https://www.researchgate.net/publication/346515367_Background_Report_on_Care_for_Older_Adults_in_Singapore_The_role_of_families_and_local_and_national_support_systems
https://www.eria.org/uploads/media/Books/2021-Coping-with-Rapid-Population-Ageing-Asia/9_Part1-Ch-5-Long-term-Care-Singapore.pdf
https://www.mof.gov.sg/docs/librariesprovider3/budget2021/download/pdf/revenue-and-expenditure-estimates-for-fy2021-2022.pdf
https://www.moh.gov.sg/news-highlights/details/healthcare-expenditure-and-long-term-care-expenditure
https://www.moh.gov.sg/news-highlights/details/managing-healthcare-cost-increases

## Slide 4: Workflow of PACS Systems
HL7 ORM: Order entry message
HL7 OMI: Imaging Order Message
HL7 ORI: Imaging order response message
MWL: Modality worklist
MPPS: Modality Performed Procedure Step Service
DICOM: Digital Imaging and Communications in Medicine
HL7 ORU: Observation result message
Web server
EHR/RIS systems
Physician
Patient
Portals
HIS System
Patient registration
Order entry
Order examination
Schedule
requisition
HIS System RIS system
Report
Patient information
Modality
Physician
Procedure ID
Special needs
Modalities: CT Scan, X-Ray, Ultrasound, MRI, Nuclear medicine, PET
Departments: Endoscopy, Radiology, Cardiology, Pathology, Dermatology etc.
DICOM
PACS
Reporting
Image viewer /Radiologist workstation
PACS Network
Acquisition
Modality specific Image acquisition
Archiving
Image archival and manager
PACS server (Images repository)
Long term archive
Short term archive
Storage
MPPS**
DICOM
Examination (annotation)
Radiology transcription
Report generation
Modality equipment
EHR System (Order filling)
On-premise server/Distributed server/Web based
Imaging station
DICOM MWL
HL7 OMI*
DICOM
HL7 ORI
HL7 ORM
DICOM
DICOM
HL7 ORU
Image viewer
Front office
Radiology technician &
Radiologist
Radiology technician
Physician, Radiology technician & Patient
Advanced visualization#
* HL7 OMI will be having Imaging Procedure Control (IPC) segment that’ll have procedure specific information
** MPPS contains performed procedure step rela­tionship and information, image acquisition results, billing and material management codes
# Advanced visualization helps to enhance quality, quantify imaging information, enable 3-D construction, embeds AI, automated workflows (email communication), clinical decision tools, follow-ups
Advanced visualization#
Notes: Requisition contains, Patient’s name, Patient’s hospital identification (ID) number, Date of birth, Ordering physician’s name, Examination ordered, Reason for examination, Chief complaint
Modality worklist: standard that allows to automate the information exchange between RIS and Medical imaging device
MPPS: abstraction of the information that describes the activities, conditions and results of an imaging procedure performed on a modality and to pass information to the PACS
DICOM: standard for data image format, interchange and file structure etc
MPPS structure: https://dicom.nema.org/dicom/2013/output/chtml/part03/sect_B.17.html#table_B.17.2-1

## Slide 5: Workflow of PACS Systems With a User Persona
Imaging center/ Hospital/ Urgent care
Report analysis from EHR/EMR systems
Patient
Physician
Diagnostic order entry to EHR
Specialist/
Referring Physician
Order examination & filling
Order scheduling
Generating requisition
Radiology technician
Modality specific image acquisition
PACS workflow management
Radiology technician
Radiologist
Examination,
Annotation
Radiology transcription
Report generation
Data upload to EHR system
Radiologist
Patient registration
Front office staff
Radiology technician
Notes: Requisition contains, Patient’s name, Patient’s hospital identification (ID) number, Date of birth, Ordering physician’s name, Examination ordered, Reason for examination, Chief complaint
Modality worklist: standard that allows to automate the information exchange between RIS and Medical imaging device
MPPS: abstraction of the information that describes the activities, conditions and results of an imaging procedure performed on a modality and to pass information to the PACS
DICOM: standard for data image format, interchange and file structure etc
MPPS structure: https://dicom.nema.org/dicom/2013/output/chtml/part03/sect_B.17.html#table_B.17.2-1

## Slide 6: PACS Cloud System
MWL: Modality worklist
MPPS: Modality Performed Procedure Step Service
DICOM: Digital Imaging and Communications in Medicine
Cloud VNA system, helps to consolidate, standardize, and archive images
Cloud based hosting and maintenance of images
Cloud-based DICOM viewer through web browsers
Cloud scope components
Web server
EHR/RIS systems
Physician
Patient
Portals
HIS System
Patient registration
Order entry
Order examination
Schedule
requisition
HIS System RIS system
Report
Patient information
Modality
Physician
Procedure ID
Special needs
Modalities: CT Scan, X-Ray, Ultrasound, MRI, Nuclear medicine, PET
Departments: Endoscopy, Radiology, Cardiology, Pathology, Dermatology etc.
DICOM
PACS
Reporting
Image viewer /Radiologist workstation
PACS Network
Acquisition
Modality specific Image acquisition
Archiving
Image archival and manager
PACS server (Images repository)
Long-term archive
Short-term archive
Storage
MPPS**
DICOM
Modality equipment
EHR System (Order filling)
On-premise server/Distributed server/Web based
Imaging station
DICOM MWL
HL7 OMI*
DICOM
HL7 ORI
HL7 ORM
DICOM
DICOM
HL7 ORU
Image viewer
Advanced visualization#
Advanced visualization#
Examination (annotation)
Radiology transcription
Report generation
Notes: Requisition contains, Patient’s name, Patient’s hospital identification (ID) number, Date of birth, Ordering physician’s name, Examination ordered, Reason for examination, Chief complaint
Modality worklist: standard that allows to automate the information exchange between RIS and Medical imaging device
MPPS: mechanism for modalities to pass information to the PACS
DICOM: standard for data image format, interchange and file structure etc

## Slide 7: Workflow of Cloud PACS System
API
connect
- Access device is responsible for the local interface, serves as a gateway to cloud services
- Queue manager helps to manage data transfers between on-site access device and cloud and within cloud environment (create request, prioritize, monitor) and Flow managers carry out these data transfer requests
- Central PACS node is responsible for image storage, search & retrieval, it is a custom, lightweight server implementing several APIs
- AWS S3: service offered by Amazon Web Services that provides object storage through a web service interface
Web browser/
Interface
Acquisition
Modality specific Image acquisition
DICOM interface
Local flow worker
Access device
Workstation
Web browser
Cloud based image viewer for physicians
Web browser
Cloud PACS
Central PACS node
Image storage (Ex: AWS S3)
Image cache
Write
Read
Read
Queue manager
Flow worker
PACS index/ elastic search
Indexing
Read
Vendor Neutral Archiving system
C-Store
C-Find
C-Move
Notes: https://www.mof.gov.sg/docs/librariesprovider3/budget2022/download/pdf/35-moh-2022.pdf
https://www.moh.gov.sg/news-highlights/details/managing-healthcare-cost-increases, https://data.worldbank.org/indicator/NY.GDP.MKTP.CD?end=2021&locations=SG&start=2013,
https://knoema.com/atlas/Singapore/topics/Health/Health-Expenditure/Real-expenditure-on-health#:~:text=In%202018%2C%20real%20expenditure%20on,was%2016%2C257%20million%20US%20dollars.
https://www.oecd.org/health/health-systems/Spending-on-long-term-care-Brief-November-2020.pdf
https://budgetmodel.wharton.upenn.edu/issues/2022/3/9/projecting-medicaids-long-term-care-expenditures
https://www.researchgate.net/publication/346515367_Background_Report_on_Care_for_Older_Adults_in_Singapore_The_role_of_families_and_local_and_national_support_systems
https://www.eria.org/uploads/media/Books/2021-Coping-with-Rapid-Population-Ageing-Asia/9_Part1-Ch-5-Long-term-Care-Singapore.pdf
https://www.mof.gov.sg/docs/librariesprovider3/budget2021/download/pdf/revenue-and-expenditure-estimates-for-fy2021-2022.pdf
https://www.moh.gov.sg/news-highlights/details/healthcare-expenditure-and-long-term-care-expenditure
https://www.moh.gov.sg/news-highlights/details/managing-healthcare-cost-increases